## Form
IMO Variable Frequency Drives - Product Quick Configurator
What is the system supply voltage? | 380-440V/3-phase | 50/60Hz
What is the motor rated kW? | 400 | kW
| 533.3333 | HP
Is the application a Fan or centrifugal Pump? | Yes
Possible IMO drive(s) is: | *EMC Filter is:
Jaguar VXM315K | RFM315K
Notes to user:
1. This configurator is intended as a guide only. If in doubt consult IMO.
2. Where more than one product is suggested, each will have varying specifications in terms of features, size, and price, etc.
Generally, the position in the list determines the product specification, hence the first product suggested will be of lower specification
and price than the second and/or subsequent products further down the list.
3. It is the responsibility of the installer to supply an EMC filter if required. Suitable Footprint or stand-alone filters are shown in the box above.
*Some CUB and VXR models can be ordered with built-in Class A filters, please see data sheets or contact IMO for more details.
iDrive EDX - ### - (11,21,and 43) - E models have integrated EMC filters and do not normally require extra filtering.
**IMO has a policy of continuous improvement and therefore specifications may change without notice.
Note on A3: Left click in the box and use the drop down menu to select the drive supply (input) voltage.
Note on B5: (Horsepower H.P. is equivalent 0.746 x kW rating)

## Table (hidden)
Item | Supply | Fan/ Pump | Min | Max | Score | Rank | Item | Item | EMC Filter
iDrive EDX-020-11 | 100-120V/1-phase | No | 0.09 | 0.21 | 0 |  | iDrive EDX-020-11 | Jaguar CUB3A-1 | RF10A-1B
iDrive EDX-040-11 | 100-120V/1-phase | No | 0.2 | 0.41 | 0 |  | iDrive EDX-040-11 | Jaguar CUB5A-1 | RF10A-1B
iDrive EDX-075-11 | 100-120V/1-phase | No | 0.4 | 0.751 | 0 |  | iDrive EDX-075-11 | Jaguar CUB8A-1 | RF17A-1B
iDrive EDX-020-21-E | 200-240V/1-phase | No | 0.09 | 0.21 | 0 |  | iDrive EDX-020-21-E | Jaguar CUB11A-1 | RF25A-1B
iDrive EDX-040-21-E | 200-240V/1-phase | No | 0.2 | 0.41 | 0 |  | iDrive EDX-040-21-E | Jaguar CUB1A5-4 | RF8A-4B
iDrive EDX-075-21-E | 200-240V/1-phase | No | 0.4 | 0.751 | 0 |  | iDrive EDX-075-21-E | Jaguar CUB2A5-4 | RF8A-4B
iDrive EDX-150-21-E | 200-240V/1-phase | No | 0.75 | 1.51 | 0 |  | iDrive EDX-150-21-E | Jaguar CUB3A7-4 | RF8A-4B
iDrive EDX-220-21-E | 200-240V/1-phase | No | 1.5 | 2.21 | 0 |  | iDrive EDX-220-21-E | Jaguar CUB5A5-4 | RF8A-4B
iDrive EDX-075-43-E | 380-440V/3-phase | No | 0.4 | 0.751 | 0 |  | iDrive EDX-075-43-E | Jaguar CUB9A-4 | RF13A-4B
iDrive EDX-150-43-E | 380-440V/3-phase | No | 0.75 | 1.51 | 0 |  | iDrive EDX-150-43-E
iDrive EDX-220-43-E | 380-440V/3-phase | No | 1.5 | 2.21 | 0 |  | iDrive EDX-220-43-E | Jaguar VXR3A-1 | RF10A-1B
| 380-440V/3-phase | No | 2.2 | 4.1 |  |  |  | Jaguar VXR5A-1 | RF10A-1B
[8 empty] | Jaguar VXR8A-1 | RF17A-1B
Jaguar CUB3A-1 | 200-240V/1-phase | No | 0.09 | 0.41 | 0 |  | Jaguar CUB3A-1 | Jaguar VXR11A-1 | RF25A-1B
Jaguar CUB5A-1 | 200-240V/1-phase | No | 0.4 | 0.751 | 0 |  | Jaguar CUB5A-1 | Jaguar VXR1A5-4 | RF8A-4B
Jaguar CUB8A-1 | 200-240V/1-phase | No | 0.75 | 1.51 | 0 |  | Jaguar CUB8A-1 | Jaguar VXR2A5-4 | RF8A-4B
Jaguar CUB11A-1 | 200-240V/1-phase | No | 1.5 | 2.21 | 0 |  | Jaguar CUB11A-1 | Jaguar VXR3A7-4 | RF8A-4B
Jaguar CUB1A5-4 | 380-440V/3-phase | No | 0.09 | 0.41 | 0 |  | Jaguar CUB1A5-4 | Jaguar VXR5A5-4 | RF8A-4B
Jaguar CUB2A5-4 | 380-440V/3-phase | No | 0.4 | 0.751 | 0 |  | Jaguar CUB2A5-4 | Jaguar VXR9A-4 | RF13A-4B
Jaguar CUB3A7-4 | 380-440V/3-phase | No | 0.75 | 1.51 | 0 |  | Jaguar CUB3A7-4 | Jaguar VXR13A-4 | RFM750-3
Jaguar CUB5A5-4 | 380-440V/3-phase | No | 1.5 | 2.21 | 0 |  | Jaguar CUB5A5-4 | Jaguar VXR18A-4 | RFM750-3
Jaguar CUB9A-4 | 380-440V/3-phase | No | 2.2 | 4.1 | 0 |  | Jaguar CUB9A-4 | Jaguar VXR24A-4 | RF44-4B
[8 empty] | Jaguar VXR30A-4 | RF44-4B
Jaguar VXR3A-1 | 200-240V/1-phase | No | 0.09 | 0.41 | 0 |  | Jaguar VXR3A-1
Jaguar VXR5A-1 | 200-240V/1-phase | No | 0.4 | 0.751 | 0 |  | Jaguar VXR5A-1 | Jaguar VXM40 | RFM75FP
Jaguar VXR8A-1 | 200-240V/1-phase | No | 0.75 | 1.51 | 0 |  | Jaguar VXR8A-1 | Jaguar VXM75 | RFM75FP
Jaguar VXR11A-1 | 200-240V/1-phase | No | 1.5 | 2.21 | 0 |  | Jaguar VXR11A-1 | Jaguar VXM150 | RFM400FP
[8 empty] | Jaguar VXM220 | RFM400FP
Jaguar VXR3A-2 | 200-240V/3-phase | No | 0.09 | 0.41 | 0 |  | Jaguar VXR3A-2 | Jaguar VXM400 | RFM400FP
Jaguar VXR5A-2 | 200-240V/3-phase | No | 0.4 | 0.751 | 0 |  | Jaguar VXR5A-2 | Jaguar VXM550 | RFM750FP
Jaguar VXR8A-2 | 200-240V/3-phase | No | 0.75 | 1.51 | 0 |  | Jaguar VXR8A-2 | Jaguar VXM750 | RFM750FP
Jaguar VXR11A-2 | 200-240V/3-phase | No | 1.5 | 2.21 | 0 |  | Jaguar VXR11A-2 | Jaguar VXM1100 | RFM1500FP
Jaguar VXR17A-2 | 200-240V/3-phase | No | 2.2 | 4.01 | 0 |  | Jaguar VXR17A-2 | Jaguar VXM1500 | RFM1500FP
Jaguar VXR25A-2 | 200-240V/3-phase | No | 4 | 5.51 | 0 |  | Jaguar VXR25A-2 | Jaguar VXM1850 | RFM2200FP
Jaguar VXR33A-2 | 200-240V/3-phase | No | 5.5 | 7.51 | 0 |  | Jaguar VXR33A-2 | Jaguar VXM2200 | RFM2200FP
Jaguar VXR47A-2 | 200-240V/3-phase | No | 7.5 | 11.01 | 0 |  | Jaguar VXR47A-2 | Jaguar VXM30KP | RFM30K
Jaguar VXR60A-2 | 200-240V/3-phase | No | 11 | 15.01 | 0 |  | Jaguar VXR60A-2 | Jaguar VXM30K | RFM30K
[8 empty] | Jaguar VXM37K | RFM90K
Jaguar VXR1A5-4 | 380-440V/3-phase | No | 0.09 | 0.41 | 0 |  | Jaguar VXR1A5-4 | Jaguar VXM45K | RFM90K
Jaguar VXR2A5-4 | 380-440V/3-phase | No | 0.4 | 0.751 | 0 |  | Jaguar VXR2A5-4 | Jaguar VXM55K | RFM90K
Jaguar VXR3A7-4 | 380-440V/3-phase | No | 0.75 | 1.51 | 0 |  | Jaguar VXR3A7-4 | Jaguar VXM75K | RFM90K
Jaguar VXR5A5-4 | 380-440V/3-phase | No | 1.5 | 2.21 | 0 |  | Jaguar VXR5A5-4 | Jaguar VXM90K | RFM90K
Jaguar VXR9A-4 | 380-440V/3-phase | No | 2.2 | 4.01 | 0 |  | Jaguar VXR9A-4 | Jaguar VXM110K | RFM132K
Jaguar VXR13A-4 | 380-440V/3-phase | No | 4 | 5.51 | 0 |  | Jaguar VXR13A-4 | Jaguar VXM132K | RFM132K
Jaguar VXR18A-4 | 380-440V/3-phase | No | 5.5 | 7.51 | 0 |  | Jaguar VXR18A-4 | Jaguar VXM160K | RFM220K
Jaguar VXR24A-4 | 380-440V/3-phase | No | 7.5 | 11.01 | 0 |  | Jaguar VXR24A-4 | Jaguar VXM200K | RFM220K
Jaguar VXR30A-4 | 380-440V/3-phase | No | 11 | 15.01 | 0 |  | Jaguar VXR30A-4 | Jaguar VXM220K | RFM220K
[8 empty] | Jaguar VXM280K | RFM315K
Jaguar VXM40 | 380-440V/3-phase | No | 0.09 | 0.41 | 0 |  | Jaguar VXM40 | Jaguar VXM315K | RFM315K
Jaguar VXM75 | 380-440V/3-phase | No | 0.4 | 0.751 | 0 |  | Jaguar VXM75
Jaguar VXM150 | 380-440V/3-phase | No | 0.75 | 1.51 | 0 |  | Jaguar VXM150
Jaguar VXM220 | 380-440V/3-phase | No | 1.5 | 2.21 | 0 |  | Jaguar VXM220
Jaguar VXM400 | 380-440V/3-phase | No | 2.2 | 4.1 | 0 |  | Jaguar VXM400
Jaguar VXM550 | 380-440V/3-phase | No | 4 | 5.51 | 0 |  | Jaguar VXM550
Jaguar VXM550 | 380-440V/3-phase | Yes | 5.5 | 7.51 | 0 |  | Jaguar VXM550
Jaguar VXM750 | 380-440V/3-phase | No | 5.5 | 7.51 | 0 |  | Jaguar VXM750
Jaguar VXM750 | 380-440V/3-phase | Yes | 7.5 | 11.01 | 0 |  | Jaguar VXM750
Jaguar VXM1100 | 380-440V/3-phase | No | 7.5 | 11.01 | 0 |  | Jaguar VXM1100
Jaguar VXM1100 | 380-440V/3-phase | Yes | 11 | 15.01 | 0 |  | Jaguar VXM1100
Jaguar VXM1500 | 380-440V/3-phase | No | 11 | 15.01 | 0 |  | Jaguar VXM1500
Jaguar VXM1500 | 380-440V/3-phase | Yes | 15 | 18.51 | 0 |  | Jaguar VXM1500
Jaguar VXM1850 | 380-440V/3-phase | No | 15 | 18.51 | 0 |  | Jaguar VXM1850
Jaguar VXM1850 | 380-440V/3-phase | Yes | 18.5 | 22.1 | 0 |  | Jaguar VXM1850
Jaguar VXM2200 | 380-440V/3-phase | No | 18.5 | 22.1 | 0 |  | Jaguar VXM2200
Jaguar VXM30KP | 380-440V/3-phase | Yes | 22 | 30.1 | 0 |  | Jaguar VXM30KP
Jaguar VXM30K | 380-440V/3-phase | No | 22 | 30.1 | 0 |  | Jaguar VXM30K
Jaguar VXM30K | 380-440V/3-phase | Yes | 30 | 37.1 | 0 |  | Jaguar VXM30K
Jaguar VXM37K | 380-440V/3-phase | No | 30 | 37.1 | 0 |  | Jaguar VXM37K
Jaguar VXM37K | 380-440V/3-phase | Yes | 37 | 45.1 | 0 |  | Jaguar VXM37K
Jaguar VXM45K | 380-440V/3-phase | No | 37 | 45.1 | 0 |  | Jaguar VXM45K
Jaguar VXM45K | 380-440V/3-phase | Yes | 45 | 55.1 | 0 |  | Jaguar VXM45K
Jaguar VXM55K | 380-440V/3-phase | No | 45 | 55.1 | 0 |  | Jaguar VXM55K
Jaguar VXM55K | 380-440V/3-phase | Yes | 55 | 75.1 | 0 |  | Jaguar VXM55K
Jaguar VXM75K | 380-440V/3-phase | No | 55 | 75.1 | 0 |  | Jaguar VXM75K
Jaguar VXM75K | 380-440V/3-phase | Yes | 75 | 90.1 | 0 |  | Jaguar VXM75K
Jaguar VXM90K | 380-440V/3-phase | No | 75 | 90.1 | 0 |  | Jaguar VXM90K
Jaguar VXM90K | 380-440V/3-phase | Yes | 90 | 110.1 | 0 |  | Jaguar VXM90K
Jaguar VXM110K | 380-440V/3-phase | No | 90 | 110.1 | 0 |  | Jaguar VXM110K
Jaguar VXM110K | 380-440V/3-phase | Yes | 110 | 132.1 | 0 |  | Jaguar VXM110K
Jaguar VXM132K | 380-440V/3-phase | No | 110 | 132.1 | 0 |  | Jaguar VXM132K
Jaguar VXM132K | 380-440V/3-phase | Yes | 132 | 160.1 | 0 |  | Jaguar VXM132K
Jaguar VXM160K | 380-440V/3-phase | No | 132 | 160.1 | 0 |  | Jaguar VXM160K
Jaguar VXM160K | 380-440V/3-phase | Yes | 160 | 200.1 | 0 |  | Jaguar VXM160K
Jaguar VXM200K | 380-440V/3-phase | No | 160 | 200.1 | 0 |  | Jaguar VXM200K
Jaguar VXM200K | 380-440V/3-phase | Yes | 200 | 220.1 | 0 |  | Jaguar VXM200K
Jaguar VXM220K | 380-440V/3-phase | No | 200 | 220.1 | 0 |  | Jaguar VXM220K
Jaguar VXM220K | 380-440V/3-phase | Yes | 220 | 280.1 | 0 |  | Jaguar VXM220K
Jaguar VXM280K | 380-440V/3-phase | No | 220 | 280.1 | 0 |  | Jaguar VXM280K
Jaguar VXM280K | 380-440V/3-phase | Yes | 280 | 315.1 | 0 |  | Jaguar VXM280K
Jaguar VXM315K | 380-440V/3-phase | No | 280 | 315.1 | 0 |  | Jaguar VXM315K
Jaguar VXM315K | 380-440V/3-phase | Yes | 315 | 400.1 | 908 | 1 | Jaguar VXM315K
Jaguar VXM400K | 380-440V/3-phase | No | 315 | 400.1 | 0 |  | Jaguar VXM400K

## Lists (hidden)
List of System | Fan
No
100-120V/1-phase | Yes
200-240V/1-phase
200-240V/3-phase
380-440V/3-phase